## UCSF I-SPY 2 DICOM Dict.
DICOM Tag | Name | Description | VR (VM) *
(0113,"MI GE GNC ID STRING",01) | mrsc_imageGnc_dwiVersion | mrsc_imageGnc_dwiVersion | IS
(0113,"MI GE GNC ID STRING",02) | gnc_dwiVersion | GNC program version number | LO
(0113,"MI GE GNC ID STRING",04) | gnc_dwiOriginalSeriesID | Original diffusion series ID | IS
(0113,"MI GE GNC ID STRING",05) | gnc_dwiOriginalSeriesUID | Original diffusion seriesU ID | UI
(0113,"MI GE GNC ID STRING",08) | gnc_dwiRunDate | GNC Run Date | DT
(0113,"MI GE GNC ID STRING",09) | gnc_dwiRunTime | GNC Run Time | TM
(0113,"MI GE GNC ID STRING",10) | gnc_dwiNOGNCFlag | GNC program suppress GN correction flag, 1=GNC suppressed | CS
(0113,"MI GE GNC ID STRING",11) | gnc_dwiNOT2Flag | GNC program suppress T2 (b=0) data, 1=b=0 image not used | CS
(0113,"MI GE GNC ID STRING",12) | gnc_dwiCollapseFlag | GNC program Collapse Flag | CS
(0113,"MI GE GNC ID STRING",13) | gnc_dwiRFOVFlag | Reduced FOV correction flag | CS
(0113,"MI GE GNC ID STRING",14) | gnc_dwiRPGFlag | Reverse polarity gradient correction flag | CS
(0113,"MI GE GNC ID STRING",15) | gnc_dwiRPGSeriesID | Reverse polarity gradient Series ID | IS
(0113,"MI GE GNC ID STRING",16) | gnc_dwiRPGSeriesUID | Reverse polarity gradient Series UID | UI
(0113,"MI GE GNC ID STRING",17) | gnc_dwiRPGOptions | RPG correction option settings | LO
(0113,"MI GE GNC ID STRING",18) | gnc_dwiRPG_no_registration | RPG suppress registration step flag | CS
(0113,"MI GE GNC ID STRING",20) | gnc_dwiManualThreshold | GNC manual threshold value | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",10) | Parameter sequence |  | SQ
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",12) | > Parameter type | Parameter type. Enumerated values: FLOAT, INTEGER, STRING | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",14) | > Parameter name | Identifies parameter | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",16) | > Parameter description | Description of parameter | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",18) | > Floating parameter value | Value of floating point parameter. required for type (0117,1012) FLOAT | DS (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",19) | > Integer parameter value | Value of integer parameter. required for type (0117,1012) INTEGER | IS (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",1A) | > String parameter value | Value of string parameter. required for type (0117,1012) STRING | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",20) | VOILPS | Patient coordinate system specified rectangular VOI Sequence | SQ
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",22) | OMIT regions | OMIT region sequence. Each item contains either a 3D patient-coordinate system rectangular VOI or a 2D pixel-coordinate projection ROI | SQ
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",24) | QC Sequence | Sequence of items for each QC factor evaluated | SQ
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",26) | ImageRegistration Sequence | Sequence of registration information | SQ
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",30) | Total phases | Number of acquired time points (phases) including a single pre-contrast acquisition | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",31) | Acquisition duration | Single phase acquisition duration | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",32) | Acquisition start times | Starting time delay in seconds for each acquisition relative to the start of the 1st post-contrast acquisition | DS (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",33) | Injection time | Assumed injection time per scanner clock | TM
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",34) | Effective acquisition delay | Effective post-injection delay for each acquisition. Non-centric phase encoding is assumed, placing the effective time half way through the acquisition | DS (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",35) | SER timing indices | Indices (0-origin) of the 3 acquisitions used in the SER calculation | IS (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",36) | FirstPostIndex | First post-contrast phase index | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",3A) | Timing information method | Method used to determine the timing acquisition. Defined terms: AUTO: Automatic based on original image meta data MANUAL: Manually input "best-guess" timing information | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",3B) | Timing information comments | Comments on determination of timing information | LT
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",41) | > VOILPS ROI flag | Type of VOI: enumerated values: 0: rectangular VOI; 1: irregular projected pixel-coordinate ROI. See Table 5 for attributes for rectangular VOI | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",42) | > VOILPS Center | Center of the VOI | DS (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",43) | > VOILPS HalfWidth | 1st half dimension vector of the VOI | DS (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",44) | > VOILPS HalfHeight | 2nd half dimension vector of the VOI | DS (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",45) | > VOILPS HalfDepth | 3rd half dimension vector of the VOI | DS (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",46) | > VOILPS Type | Use for the specified region. Defined terms: "VOI": Region to be analyzed "OMIT": Region to be excluded from the analysis | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",50) | > ProjectedROI npixels | Number of pixels for image used for ROI definition | US
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",51) | > Projection axis | Image pixel axis of projection for the 2D ROI. Enumerated values: 0=x-axis, 1=y-axis, 2=z-axis | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",52) | > ProjectedROI transpose flag | Flag indicating ROI coordinates are defined on a transposed image | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",53) | > ProjectedROI X vertices * | X-axis pixel coordinates defining the irregular ROI | US (3-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",54) | > ProjectedROI Y vertices * | Y-axis pixel coordinates defining the irregular ROI | US (3-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",55) | > ProjectedROI Z range * | Z-axis (plane) range of projection of the ROI. If not present the ROI was projected across all planes in the image. | US (2)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",56) | > ProjectedROI type | Type (usage) of ROI. Defined terms: OMITregion to be excluded from the analysis | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",5A) | > ProjectedROI label | Label for display with the ROI | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",70) | RegistrationSID | RegistrationSID | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",71) | RegVersion | RegVersion | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",73) | RegFixedSeries | RegFixedSeries | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",74) | RegFixedVolumeIndex | RegFixedVolumeIndex | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",76) | RegMovingVolumeIndex | RegMovingVolumeIndex | IS(1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",77) | RegMovingSeries | RegMovingSeries | IS(1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",7B) | RegType | RegType | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",7C) | RegExecutable | RegExecutable | LT
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",7D) | RegArguments | RegArguments | LT
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",7E) | RegITKVersion | RegITKVersion | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",7F) | RegTimeStamp | RegTimeStamp | DT
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",80) | RegElastixVersion | RegElastixVersion | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",81) | RegElstixParams | RegElstixParams | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",85) | RegFixedDataType | RegFixedDataType | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",86) | RegMovingDMIDataType | RegMovingDMIDataType | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",87) | RegFixedIntScale | RegFixedIntScale | DS(2)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",88) | RegMovingIntScale | RegMovingIntScale | DS(2)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",90) | CropSourceOrientation | Original uncropped image orientation | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",91) | CropTargetOrientation | Cropped image orientation | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",92) | CropSourceNPixels | Original image #pixels [x,y,z] | UL(3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",93) | CropTargetNPixels | Cropped image #pixels [x,y,z] | UL(3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",94) | CropSourcePixelSize | Original image pixel size [x,y,z] (mm) | FD(3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",95) | CropTargetPixelSize | Cropped image pixel size [x,y,z] (mm) | FD(3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",96) | CropSourcePixLPSMatrix | Original image Pixel-to-LPS transformation matrix | FD(16)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",97) | CropTargetPixLPSMatrix | Cropped image Pixel-to-LPS transformation matrix | FD(16)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",98) | CropLaterality | Cropped image laterality | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",99) | CropPixelLimitsStart | Cropping pixel limits start [x,y,z] | UL(3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",9A) | CropPixelLimitsEnd | Cropping pixel limits end [x,y,z] | UL(3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",9B) | CropResamplingMethod | Cropping resampling method | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",A1) | VOI_pixel_start * | (x,y,z) coordinates of the first voxel in the VOI | US (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",A2) | VOI_pixel_end * | (x,y,z) coordinates of the last voxel in the VOI | US (3)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",A3) | FTVBackgroundMethod | FTV Background Method | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",A4) | FTVBackgroundThreshold | FTV Background Threshold | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",B0) | FTV Sequence | MRI SER FTV results | SQ (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",B1) | > SER Minimum | Minimum value of SER | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",B2) | > SER Maximum | Maximum value of SER: assumed to be infinite if not specified | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",B3) | > Voxel count | FTV number of voxels | IS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",B4) | > Volume | FTV in cc | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",B5) | > Label | Display label for FTV result | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C0) | > QC Type | Type of quality assessment. Defined terms: GRADE (AA=4.0 to FF=0.0) PF (Pass/Fail or Yes/No) SCORE (integer ratings 1,2,…) | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C1) | > QC Factor | Quality factor evaluated | LO
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C2) | > QC value | Numerical quality assessment | DS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C3) | > QC meaning | Meaning of quality assessment | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C4) | > QC comment | Additional quality assessment comments | LT
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C5) | Protocol compliance | Protocol compliance sufficient for volume SER calculation | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C6) | Protocol non-compliance reasons | Description of protocol compliance violation(s) | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C7) | ImagesAnalyzable | Images Analyzable | CS
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",C8) | Images non-analyzable reasons | Protocol non-analyzable reasons | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",D1) | MaskSourceSaveDate | Date source file saved | DT
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",D2) | MaskOperations | Filter operations encoded in mask | CS (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",D3) | MaskLegend | List of mask values | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",D4) | MaskProcessDescriptions | Descriptions of process operations | LO (1-n)
(0117,"UCSF BIRP PRIVATE CREATOR 011710xx",F1) | RegTransferText | Registration transform text | LT
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011910xx",00) | Version | UCSF mrsc_image version | DS
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011910xx",10) | PixelDataType | Pixel data type | IS
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011910xx",30) | DirectionCosines | Direction cosines for [row, column, plane] | DS(9)
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011910xx",31) | PatientOrientation3 | Patient orientation for [row, column, plane] | CS(3)
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011910xx",50) | VolumeLabels | Volume labels | LO(1-n)
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011911xx",20) | ThresholdingFlag | Thresholding flag | IS
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011911xx",21) | Threshold | Threshold value | DS
(0119,"UCSF MRSC Acquisition PRIVATE CREATOR 011911xx",23) | FitMapMask | Compressed fit map binary mask | OB(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",00) | FitMapModuleVersion | FitMap program module version | IS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",02) | SourceVolumeIndices | Source files volume indices | IS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",03) | ParameterValues | Fitting parameter values | DS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",04) | ParameterTag | Fitting parameter tag | AT
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",05) | SourceFileUIDs | Source file UIDs | UI(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",09) | SMOOTHBoxcarAverageKernel | IDL SMOOTH boxcar average filter kernel | IS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",0A) | FitParameterName | Fitting parameter name | LO(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",0C) | FitICFunction | Fitting inicial conditions function name | LO
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",0D) | FitFormulaProcedure | Fitting formula procedure name | LO
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",0E) | FittingProgram | Fitting program | LO
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",0F) | FittingProgramVersion | Fitting program version | IS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",10) | FitType | Fit type | CS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",11) | SetICFlag | Initial conditions set flag | IS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",12) | InitialConditions | Initial conditions | DS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",13) | FitMapScaleFactors | Fit map scale factors | DS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",20) | ThresholdingFlag | Thresholding flag | IS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",21) | Threshold | Threshold value | DS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",23) | FitMapMask | Compressed fit map binary mask | OB(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",24) | FitMapPntThreshMap | Fit map Point Threshold map | OB(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",25) | PixelMaskCheckString | Pixel mask checkstring | ST
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",26) | PixelMaskSource | Pixel mask source | LO(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",30) | UpperFitLimit | Upper fit value limit | DS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",31) | LowerFitLimit | Lower fit value limit | DS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",40) | GradientMatrixMethod | DTI Gradient matrix method | LO
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",41) | GradientMatrix | DTI Gradient matrix | DS(1-n)
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",42) | IVIMMinimumBSlow | IVIM minimum B value for slow ADC | DS
(0119,"UCSF MRSC Fitting PRIVATE CREATOR 011911xx",80) | FitMapSQ | FitMap SQ field | SQ

## DICOM Private Creators
Creator strings used in UCSF derived DICOM objects in I-SPY 2
Tag | Value
(0113,0010) | MI GE GNC ID STRING
(0117,0010) | UCSF BIRP PRIVATE CREATOR 011710xx
(0119,0010) | UCSF MRSC Acquisition PRIVATE CREATOR 011910xx
(0119,0011) | UCSF MRSC Fitting PRIVATE CREATOR 011911xx