## Overall
Anonymized Patient ID | Manufacturer | Model
CCR-3-CT1 | SIEMENS | Scope
CCR-3-CT2 | GE MEDICAL SYSTEMS | LightSpeed16
CCR-3-CT3 | GE MEDICAL SYSTEMS | LightSpeed16
CCR-3-CT4 | Philips | GEMINI TF Big Bore
CCR-3-CT5 | GE MEDICAL SYSTEMS | Optima CT520 Series
CCR-3-CT6 | SIEMENS | Perspective
CCR-3-CT7 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT8 | SIEMENS | Perspective
CCR-3-CT9 | TOSHIBA | Aquilion PRIME
CCR-3-CT10 | TOSHIBA | Aquilion PRIME
CCR-3-CT11 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT12 | SIEMENS | Sensation 64
CCR-3-CT13 | Philips | Brilliance 64
CCR-3-CT14 | TOSHIBA | Aquilion/LB
CCR-3-CT15 | Philips | Brilliance Big Bore
CCR-3-CT16 | GE MEDICAL SYSTEMS | LightSpeed RT
CCR-3-CT17 | TOSHIBA | Aquilion
CCR-3-CT18 | SIEMENS | Sensation 64
CCR-3-CT19 | SIEMENS | SOMATOM Definition Flash
CCR-3-CT20 | SIEMENS | Biograph20
CCR-3-CT21 | Philips | Brilliance 64
CCR-3-CT22 | GE MEDICAL SYSTEMS | LightSpeed Pro 16
CCR-3-CT23 | GE MEDICAL SYSTEMS | Optima CT520 Series
CCR-3-CT24 | SIEMENS | SOMATOM Definition Edge
CCR-3-CT25 | GE MEDICAL SYSTEMS | LightSpeed16
CCR-3-CT26 | TOSHIBA | Aquilion ONE
CCR-3-CT27 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT28 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT29 | GE MEDICAL SYSTEMS | Optima CT660
CCR-3-CT30 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT31 | GE MEDICAL SYSTEMS | BrightSpeed S
CCR-3-CT32 | GE MEDICAL SYSTEMS | Optima CT660
CCR-3-CT33 | Philips | iCT 256
CCR-3-CT34 | TOSHIBA | Aquilion
CCR-3-CT35 | TOSHIBA | Aquilion
CCR-3-CT36 | TOSHIBA | Aquilion ONE
CCR-3-CT37 | TOSHIBA | Aquilion PRIME
CCR-3-CT38 | GE MEDICAL SYSTEMS | Revolution CT
CCR-3-CT39 | SIEMENS | SOMATOM Definition AS+
CCR-3-CT40 | SIEMENS | Sensation Open
CCR-3-CT41 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT42 | SIEMENS | Perspective
CCR-3-CT43 | SIEMENS | Emotion 6
CCR-3-CT44 | GE MEDICAL SYSTEMS | Optima CT580
CCR-3-CT45 | GE MEDICAL SYSTEMS | LightSpeed RT16
CCR-3-CT46 | Philips | Brilliance Big Bore
CCR-3-CT47 | Philips | Brilliance Big Bore
CCR-3-CT48 | GE MEDICAL SYSTEMS | LightSpeed RT16
CCR-3-CT49 | GE MEDICAL SYSTEMS | LightSpeed RT16
CCR-3-CT50 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT51 | GE MEDICAL SYSTEMS | Revolution EVO
CCR-3-CT52 | SIEMENS | SOMATOM Definition AS
CCR-3-CT53 | Philips | Brilliance Big Bore
CCR-3-CT54 | Philips | Brilliance Big Bore
CCR-3-CT55 | GE MEDICAL SYSTEMS | LightSpeed RT
CCR-3-CT56 | Philips | Brilliance Big Bore
CCR-3-CT57 | Philips | Brilliance Big Bore
CCR-3-CT58 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT59 | GE MEDICAL SYSTEMS | Revolution HD
CCR-3-CT60 | GE MEDICAL SYSTEMS | Revolution HD
CCR-3-CT61 | Philips | Brilliance Big Bore
CCR-3-CT62 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT63 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT64 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT65 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT66 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT67 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT68 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT69 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT70 | GE MEDICAL SYSTEMS | Revolution HD
CCR-3-CT71 | GE MEDICAL SYSTEMS | Discovery CT750 HD
CCR-3-CT72 | GE MEDICAL SYSTEMS | Revolution HD
CCR-3-CT73 | SIEMENS | SOMATOM Definition Flash
CCR-3-CT74 | SIEMENS | SOMATOM Force
CCR-3-CT75 | SIEMENS | SOMATOM Definition Flash
CCR-3-CT76 | Philips | IQon - Spectral CT
CCR-3-CT77 | Philips | iCT 256
CCR-3-CT78 | Philips | iCT 256
CCR-3-CT79 | Philips | IQon - Spectral CT
CCR-3-CT80 | Philips | iCT 256
CCR-3-CT81 | Philips | Brilliance Big Bore
CCR-3-CT82 | GE MEDICAL SYSTEMS | Revolution EVO
CCR-3-CT83 | GE MEDICAL SYSTEMS | Revolution EVO
CCR-3-CT84 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT85 | GE MEDICAL SYSTEMS | LightSpeed RT16
CCR-3-CT86 | TOSHIBA | Aquilion PRIME
CCR-3-CT87 | TOSHIBA | Aquilion ONE
CCR-3-CT88 | GE MEDICAL SYSTEMS | LightSpeed VCT
CCR-3-CT89 | GE MEDICAL SYSTEMS | Revolution CT
CCR-3-CT90 | GE MEDICAL SYSTEMS | Revolution CT
CCR-3-CT91 | GE MEDICAL SYSTEMS | LightSpeed RT16
CCR-3-CT92 | SIEMENS | SOMATOM Definition Edge
CCR-3-CT93 | Philips | Brilliance 64
CCR-3-CT94 | GE MEDICAL SYSTEMS | Revolution CT
CCR-3-CT95 | GE MEDICAL SYSTEMS | LightSpeed VCT

## Control Settings
Anonymized Patient ID | CTDIvol (mGy)
CCR-3-CT1 | 13.78 | The controlled protocol was: tube voltage, 120 kV(p); tube current, 200 mA∙s; helical scan type; spiral pitch factor, 1.0; 50-cm display field of view; and image thickness, 3 mm (except for GE scanners, which used an image thickness of 2.5 mm). The convolution kernel was standard for GE; C for Philips; B31f, B31s for Siemens; and FC08 for Toshiba.
CCR-3-CT2 | 22.3
CCR-3-CT3 | 19.93
CCR-3-CT4 | 11.2
CCR-3-CT5 | 18.41
CCR-3-CT6 | 22
CCR-3-CT7 | 15.44
CCR-3-CT8 | 23.18
CCR-3-CT9 | 19.2
CCR-3-CT10 | 19.4
CCR-3-CT11 | 15.45
CCR-3-CT12 | 15.32
CCR-3-CT13 | 13.1
CCR-3-CT14 | 23.9
CCR-3-CT15 | 10.6
CCR-3-CT16 | 24.93
CCR-3-CT17 | 26.7
CCR-3-CT18 | 13.48
CCR-3-CT19 | 13.49
CCR-3-CT20 | 16.06
CCR-3-CT21 | 13.1
CCR-3-CT22 | Unknown
CCR-3-CT23 | Unknown
CCR-3-CT24 | 13.47
CCR-3-CT25 | Unknown
CCR-3-CT26 | 24.5
CCR-3-CT27 | 15.47
CCR-3-CT28 | 15.46
CCR-3-CT29 | 17.36
CCR-3-CT30 | 16.78
CCR-3-CT31 | Unknown
CCR-3-CT32 | 17.7
CCR-3-CT33 | 13.5
CCR-3-CT34 | 22.4
CCR-3-CT35 | 22.4
CCR-3-CT36 | 9.6
CCR-3-CT37 | 16.7
CCR-3-CT38 | 14.49
CCR-3-CT39 | 13.47
CCR-3-CT40 | 17.94
CCR-3-CT41 | 15.27
CCR-3-CT42 | 14.79
CCR-3-CT43 | 21.89
CCR-3-CT44 | 18.17
CCR-3-CT45 | 20.47
CCR-3-CT46 | 11.8
CCR-3-CT47 | 11.8
CCR-3-CT48 | 19.07
CCR-3-CT49 | 19.07
CCR-3-CT50 | 15.51
CCR-3-CT51 | 16.84
CCR-3-CT52 | 14.45
CCR-3-CT53 | 11.8
CCR-3-CT54 | 13.3
CCR-3-CT55 | 24.93
CCR-3-CT56 | 11.8
CCR-3-CT57 | 11.8
CCR-3-CT58 | 16.3
CCR-3-CT59 | 16.08
CCR-3-CT60 | 16.08
CCR-3-CT61 | 11.8
CCR-3-CT62 | 16.3
CCR-3-CT63 | 16.3
CCR-3-CT64 | 16.08
CCR-3-CT65 | 16.08
CCR-3-CT66 | 15.29
CCR-3-CT67 | 16.08
CCR-3-CT68 | 16.08
CCR-3-CT69 | 16.3
CCR-3-CT70 | 16.08
CCR-3-CT71 | 16.3
CCR-3-CT72 | 16.08
CCR-3-CT73 | 13.39
CCR-3-CT74 | 13.3
CCR-3-CT75 | 13.49
CCR-3-CT76 | 18.1
CCR-3-CT77 | 12.2
CCR-3-CT78 | 13.5
CCR-3-CT79 | 18.1
CCR-3-CT80 | 13.5
CCR-3-CT81 | 11.8
CCR-3-CT82 | 17.7
CCR-3-CT83 | 17.7
CCR-3-CT84 | 15.45
CCR-3-CT85 | 15.63
CCR-3-CT86 | 19.4
CCR-3-CT87 | 13.1
CCR-3-CT88 | 15.64
CCR-3-CT89 | 13.6
CCR-3-CT90 | 13.6
CCR-3-CT91 | 15.63
CCR-3-CT92 | 13.47
CCR-3-CT94 | 14.49
CCR-3-CT95 | 16.7

## Chest Settings
Anonymized Patient ID | kVp | Slice Thickness (mm) | mAs | CTDIvol (mGy) | Kernel | FOV | Scan Pitch | Scan Options | Pixel Size | Filter Type | Focal Spots | Col Width | Total Col Width
CCR-3-CT1 | 130 | 5 | 120.8 | 10.82 | B31s | 300 | 1.1 | no_scan_options | 0.58594 | 1 | 0.95 | 1.2 | 19.2
CCR-3-CT2 | 120 | 5 | 203.35 | 10.97 | STANDARD | 360 | 1.75 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT3 | 120 | 5 | 277.8 | 15.95 | STANDARD | 360 | 0.9375 | HELICAL MODE | 0.70312 | BODY FILTER | 0.7 | 1.25 | 20
CCR-3-CT4 | 120 | 3 | 0 | 17.2 | C | 500 | 0.938 | HELIX | 0.97656 | C | NA | NA | NA
CCR-3-CT5 | 120 | 2.5 | 168.24 | 9.47 | STANDARD | 360 | 1.7507 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 0.833 | 19.992
CCR-3-CT6 | 130 | 5 | 95.4 | 11.04 | ['I31s', '3'] | 300 | 0.95 | no_scan_options | 0.58594 | 1 | 0.95 | 1.2 | 38.4
CCR-3-CT7 | 120 | 5 | 240 | 18.56 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 0.7 | 0.625 | 40
CCR-3-CT8 | 130 | 5 | 91.2 | 8.12 | ['I30s', '2'] | 300 | 1.3 | no_scan_options | 0.58594 | 1 | 0.95 | 0.6 | 19.2
CCR-3-CT10 | 120 | 3 | 105 | 11.1 | FC18 | 379.687 | 0.813 | HELICAL_CT | 0.741 | LARGE | ['0.9', '0.8'] | 0.5 | 40
CCR-3-CT11 | 120 | 5 | 240 | 13.11 | STANDARD | 360 | 1.375 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT12 | 120 | 5 | 250 | 16.85 | B40f | 366 | 1 | no_scan_options | 0.71484 | 0 | 1.2 | 1.2 | 28.8
CCR-3-CT13 | 120 | 4 | 185.377 | 12.1 | B | 400 | 0.797 | HELIX | 0.78125 | B | NA | NA | NA
CCR-3-CT14 | 120 | 3 | 175 | 12.6 | FC18 | 400 | 1.438 | HELICAL_CT | 0.781 | LARGE | ['0.9', '0.8'] | 1 | 16
CCR-3-CT15 | 120 | 3 | 275.52 | 14.5 | C | 399 | 0.813 | HELIX | 0.7793 | C | NA | NA | NA
CCR-3-CT16 | 140 | 2.5 | 155.04 | 22.8 | STANDARD | 480 | 0.75 | HELICAL MODE | 0.9375 | BODY FILTER | 1.2 | 2.5 | 10
CCR-3-CT17 | 120 | 2 | 69.5 | 7.8 | FC01 | 379.687 | 0.828 | HELICAL_CT | 0.741 | LARGE | ['0.9', '0.8'] | 0.5 | 32
CCR-3-CT18 | 120 | 3 | 200 | 16.88 | B31f | 290 | 0.8 | no_scan_options | 0.56641 | 0 | 1.2 | 1.2 | 28.8
CCR-3-CT19 | 100 | 1 | 45.5 | 3.05 | ['I31f', '3'] | 371 | 0.6 | no_scan_options | 0.72461 | WEDGE_3 | 1.2 | 0.6 | 38.4
CCR-3-CT20 | 120 | 2 | 84 | 11.24 | B31f | 500 | 0.6 | no_scan_options | 0.97656 | FLAT | 1.2 | 0.6 | 12
CCR-3-CT21 | 120 | 3 | 128.163 | 8.4 | B | 350 | 1.172 | HELIX | 0.68359 | B | NA | 0.625 | 40
CCR-3-CT22 | 120 | 5 | 372.6 | Unknown | STANDARD | 500 | 0.9375 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT23 | 120 | 1.25 | 169.38 | Unknown | STANDARD | 360 | 1.3756 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 0.833 | 19.992
CCR-3-CT24 | 120 | 3 | 39 | 3.16 | ['I30f', '3'] | 600 | 0.8 | no_scan_options | 1.1719 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT25 | 120 | 5 | 205 | Unknown | STANDARD | 360 | 1.75 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT26 | 120 | 1 | 108 | 5.7 | FC55 | 293.75 | NA | HELICAL_CT | ['0.573', '0.573'] | LARGE | ['0.9', '0.8'] | NA | NA
CCR-3-CT27 | 120 | 5 | 256 | 19.8 | STANDARD | 360 | 0.98438 | HELICAL MODE | 0.70312 | BODY FILTER | 0.7 | 0.625 | 40
CCR-3-CT28 | 120 | 5 | 256 | 19.79 | CHST | 360 | 0.98438 | HELICAL MODE | 0.70312 | BODY FILTER | 0.7 | 0.625 | 40
CCR-3-CT29 | 120 | 5 | 192 | 18.39 | STANDARD | 360 | 0.96875 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 0.625 | 20
CCR-3-CT30 | 120 | 5 | 160 | 13.42 | STANDARD | 360 | 0.98438 | HELICAL MODE | 0.70312 | BODY FILTER | 0.7 | 0.625 | 40
CCR-3-CT31 | 120 | 5 | 262.08 | Unknown | STANDARD | 408 | 1.35 | HELICAL MODE | 0.79688 | BODY FILTER | 1.2 | 2.5 | 20
CCR-3-CT32 | 120 | 2.5 | 168 | 10.64 | STANDARD | 400 | 1.375 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT33 | 120 | 3 | 90.045 | 6.1 | B | 347 | 0.758 | HELIX | 0.67773 | B | NA | 0.625 | 80
CCR-3-CT34 | 120 | 3 | 75 | 11.3 | FC18 | 320 | 0.641 | HELICAL_CT | 0.625 | SMALL | ['0.9', '0.8'] | NA | NA
CCR-3-CT35 | 120 | 3 | 75 | 7.6 | FC18 | 317.5 | 0.828 | HELICAL_CT | 0.62 | SMALL | ['0.9', '0.8'] | NA | NA
CCR-3-CT36 | 100 | 3 | 50 | 2.9 | FC18 | 328.125 | 0.813 | HELICAL_CT | 0.64 | LARGE EC | ['0.9', '0.8'] | 0.5 | 40
CCR-3-CT37 | 120 | 3 | 105 | 11.1 | FC18 | 379.687 | 0.813 | HELICAL_CT | 0.741 | LARGE | ['0.9', '0.8'] | 0.5 | 40
CCR-3-CT38 | 120 | 2.5 | 49 | 3.54 | STANDARD | 380 | 0.50781 | HELICAL MODE | 0.74219 | MEDIUM FILTER | 0.7 | 0.625 | 80
CCR-3-CT39 | 100 | 5 | 91.5 | 2.14 | ['I31f', '3'] | 300 | 1.2 | no_scan_options | 0.58594 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT40 | 120 | 5 | 72 | 8.31 | B31s | 290 | 0.8 | no_scan_options | 0.56641 | 0 | 1.2 | 1.2 | 28.8
CCR-3-CT41 | 120 | 5 | 80 | 4.51 | STANDARD | 380 | 1.375 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT42 | 130 | 5 | 33 | 3.63 | ['I31s', '2'] | 312 | 0.8 | no_scan_options | 0.60938 | 1 | 0.95 | 0.6 | 38.4
CCR-3-CT43 | 130 | 5 | 49.6 | 9.94 | B41s | 310 | 1 | no_scan_options | 0.60547 | 1 | 0.95 | 2 | 12
CCR-3-CT44 | 120 | 2.5 | 854.568 | 66.84 | STANDARD | 800 | 0.5625 | HELICAL MODE | 1.5625 | BODY FILTER | 1.2 | 0.625 | 10
CCR-3-CT45 | 120 | 2.5 | 84 | 4.8 | STANDARD | 500 | 1.75 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 0.625 | 10
CCR-3-CT46 | 120 | 3 | 300.12 | 17.8 | B | 600 | 0.813 | HELIX | 1.1719 | B | NA | NA | NA
CCR-3-CT47 | 120 | 3 | 324.896 | 19.2 | C | 600 | 0.813 | HELIX | 1.1719 | C | NA | NA | NA
CCR-3-CT48 | 120 | 5 | 520.344 | 23.54 | STANDARD | 360 | 1.375 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT49 | 120 | 2.5 | 429.9 | 14.36 | STANDARD | 500 | 0.9375 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT50 | 120 | 2.5 | 55.6 | 3.52 | STANDARD | 400 | 1.375 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT51 | 120 | 1.25 | 40 | 3.45 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT52 | 100 | 5 | 60.5 | 4.52 | B30f | 314 | 0.8 | no_scan_options | 0.61328 | FLAT | 1.2 | 0.6 | 19.2
CCR-3-CT53 | 120 | 3 | 399.575 | 23.7 | B | 500 | 0.688 | HELIX | 0.97656 | B | NA | NA | NA
CCR-3-CT54 | 120 | 3 | 400.148 | 26.5 | B | 530 | 0.813 | HELIX | 1.0352 | B | NA | 0.75 | 12
CCR-3-CT55 | 120 | 2.5 | 329.44 | 18.76 | STANDARD | 650 | 1.5 | HELICAL MODE | 1.2695 | BODY FILTER | 1.2 | 2.5 | 10
CCR-3-CT56 | 120 | 3 | 399.575 | 23.7 | B | 500 | 0.688 | HELIX | 0.97656 | B | NA | NA | NA
CCR-3-CT57 | 120 | 3 | 155.064 | 11.8 | C | 500 | 0.813 | HELIX | 0.97656 | C | NA | 1.5 | 24
CCR-3-CT58 | 120 | 2.5 | 79.6 | 6.52 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT59 | 120 | 2.5 | 80 | 6.43 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT60 | 120 | 2.5 | 79.6 | 6.43 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT61 | 140 | 3 | 374.544 | 28.3 | B | 600 | 0.817 | HELIX | 1.1719 | B | NA | NA | NA
CCR-3-CT62 | 120 | 2.5 | 79.6 | 6.52 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT63 | 120 | 2.5 | 80 | 6.52 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT64 | 120 | 2.5 | 80 | 6.43 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT65 | 120 | 2.5 | 79.6 | 6.43 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT66 | 120 | 2.5 | 79.2 | 6.12 | STANDARD | 400 | 0.98438 | HELICAL MODE | 0.78125 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT67 | 120 | 2.5 | 79.6 | 6.43 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT68 | 120 | 2.5 | 79.6 | 6.43 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT69 | 120 | 2.5 | 80 | 6.52 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT70 | 120 | 2.5 | 80 | 6.43 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT71 | 120 | 2.5 | 79.6 | 6.52 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT72 | 120 | 2.5 | 137.6 | 5.47 | STANDARD | 380 | 0.98438 | HELICAL MODE | 0.74219 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT73 | 120 | 2 | 70 | 7.83 | ['I41f', '2'] | 307 | 0.6 | no_scan_options | 0.59961 | WEDGE_3 | 1.2 | 0.6 | 38.4
CCR-3-CT74 | 120 | 2 | 70 | 8.09 | ['Bf40d', '2'] | 360 | 0.6 | no_scan_options | 0.70312 | FLAT | 0.8 | 0.6 | 57.6
CCR-3-CT75 | 120 | 2 | 71 | 7.94 | ['I41f', '2'] | 309 | 0.6 | no_scan_options | 0.60352 | WEDGE_3 | 1.2 | 0.6 | 38.4
CCR-3-CT76 | 120 | 2.5 | 33.976 | 3.1 | B | 328 | 1.204 | HELIX | 0.64062 | B | NA | 0.625 | 40
CCR-3-CT77 | 120 | 2.5 | 51.96 | 3.5 | B | 334 | 0.758 | HELIX | 0.65234 | B | NA | 0.625 | 80
CCR-3-CT78 | 120 | 2.5 | 53.94 | 3.7 | B | 350 | 0.758 | HELIX | 0.68359 | B | NA | 0.625 | 80
CCR-3-CT79 | 120 | 2.5 | 42.032 | 3.5 | B | 350 | 1.171 | HELIX | 0.68359 | B | NA | 0.625 | 40
CCR-3-CT80 | 120 | 2.5 | 56.985 | 3.7 | B | 350 | 0.758 | HELIX | 0.68359 | B | NA | 0.625 | 80
CCR-3-CT81 | 120 | 3 | 27.99 | 8.3 | C | 500 | 0.813 | HELIX | 0.97656 | C | NA | 1.5 | 24
CCR-3-CT82 | 120 | 5 | 192 | 12.16 | STANDARD | 360 | 1.375 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT83 | 120 | 5 | 192 | 12.16 | STANDARD | 360 | 1.375 | HELICAL MODE | 0.70312 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT84 | 120 | 2.5 | 441 | 18.55 | STANDARD | 293 | 0.98438 | HELICAL MODE | 0.57227 | BODY FILTER | 1.2 | 0.625 | 40
CCR-3-CT85 | 120 | 1.25 | 193.546 | 9.23 | STANDARD | 402 | 0.9375 | HELICAL MODE | 0.78516 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT86 | 120 | 3 | 24 | 2.2 | FC56 | 342.187 | 0.95 | HELICAL_CT | 0.668 | LARGE | ['0.9', '0.8'] | 0.5 | 40
CCR-3-CT87 | 120 | 3 | 30 | 2.6 | FC56 | 312.5 | 0.994 | HELICAL_CT | 0.61 | LARGE | ['0.9', '0.8'] | NA | NA
CCR-3-CT89 | 120 | 2.5 | 77 | 5.47 | STANDARD | 400 | 0.99219 | HELICAL MODE | 0.78125 | BODY FILTER | 0.7 | 0.625 | 80
CCR-3-CT90 | 120 | 2.5 | 41 | 4.02 | STANDARD | 400 | 0.99219 | HELICAL MODE | 0.78125 | BODY FILTER | 0.7 | 0.625 | 80
CCR-3-CT91 | 120 | 2.5 | 401.45 | 22.58 | STANDARD | 500 | 0.9375 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT92 | 120 | 2 | 300 | 13.47 | B40s | 500 | 1.5 | no_scan_options | 0.97656 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT93 | 120 | 2.5 | 249.936 | 16.29 | L | 500 | 0.984 | HELIX | 0.97656 | L | NA | NA | NA
CCR-3-CT94 | 120 | 2.5 | 49 | 3.54 | STANDARD | 380 | 0.50781 | HELICAL MODE | 0.74219 | MEDIUM FILTER | 0.7 | 0.625 | 80
CCR-3-CT95 | 120 | 2.5 | 31.6 | 1.99 | STANDARD | 360 | 1.375 | HELICAL MODE | 0.70312 | MEDIUM FILTER | 1.2 | 0.625 | 40

## Head Settings
Anonymized Patient ID | kVp | Slice Thickness (mm) | mAs | CTDIvol (mGy) | Kernel | FOV | Scan Pitch | Scan Options | Pixel Size | Filter Type | Focal Spots | Col Width | Total Col Width
CCR-3-CT2 | 120 | 2.5 | 260 | 59.29 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 1.2 | NA | NA
CCR-3-CT3 | 120 | 2.5 | 300 | 55.47 | SOFT | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 1.2 | NA | NA
CCR-3-CT4 | 120 | 3 | 0 | 78.2 | UC | 300 | 0.567 | HELIX | 0.58594 | UC | NA | NA | NA
CCR-3-CT5 | 120 | 2.5 | 280 | 60.44 | STANDARD | 220 | NA | AXIAL MODE | 0.42969 | HEAD FILTER | 1.2 | 0.625 | 10
CCR-3-CT6 | 130 | 4 | 202 | 65.5 | ['J30s', '3'] | 200 | 0.75 | no_scan_options | 0.39062 | 1 | 0.95 | 0.6 | 19.2
CCR-3-CT7 | 120 | 5 | 250 | 47.94 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT8 | 130 | 1.5 | 220 | 59.73 | H30s | 200 | NA | no_scan_options | 0.39062 | 1 | 0.95 | 0.6 | 19.2
CCR-3-CT10 | 120 | 5 | 165 | 57.5 | FC26 | 220.312 | 0.625 | HELICAL_CT | 0.43 | SMALL | ['0.9', '0.8'] | 0.5 | 20
CCR-3-CT13 | 120 | 5 | 420 | 66.7 | UB | 350 | NA | AXIAL | 0.68359 | UB | NA | NA | NA
CCR-3-CT14 | 120 | 5 | 210 | 59.5 | FC26 | 220.312 | 0.688 | HELICAL_CT | 0.43 | SMALL | ['0.9', '0.8'] | 0.5 | 8
CCR-3-CT15 | 120 | 3 | 350.55 | 18.5 | B | 385 | 0.813 | HELIX | 0.75195 | B | NA | NA | NA
CCR-3-CT16 | 120 | 2.5 | 377.91 | 24.31 | STANDARD | 480 | 0.75 | HELICAL MODE | 0.9375 | BODY FILTER | 0.7 | 2.5 | 10
CCR-3-CT17 | 120 | 2 | 81 | 9.1 | FC08 | 379.687 | 0.828 | HELICAL_CT | 0.741 | LARGE | ['0.9', '0.8'] | 0.5 | 32
CCR-3-CT18 | 120 | 2 | 323 | 61.79 | H60s | 231 | 0.85 | no_scan_options | 0.45117 | 0 | 1.2 | 0.6 | 6
CCR-3-CT19 | 120 | 5 | 251 | 64.26 | H37s | 230 | 0.6 | no_scan_options | 0.44922 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT20 | 120 | 2 | 210 | 59.97 | H31s | 500 | 0.6 | no_scan_options | 0.97656 | FLAT | 1.2 | 0.6 | 12
CCR-3-CT21 | 120 | 2.5 | 350 | 55.6 | UB | 246 | NA | AXIAL | 0.48047 | UB | NA | 0.625 | 10
CCR-3-CT22 | 120 | 5 | 300 | Unknown | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 0.7 | NA | NA
CCR-3-CT23 | 120 | 5 | 300 | Unknown | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 1.2 | 0.625 | 10
CCR-3-CT24 | 120 | 3 | 53 | 4.38 | ['I30s', '3'] | 500 | 0.8 | no_scan_options | 0.97656 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT25 | 120 | 2.5 | 300 | Unknown | STANDARD | 200 | NA | AXIAL MODE | 0.39062 | HEAD FILTER | 1.2 | 0.625 | 10
CCR-3-CT26 | 120 | 0.5 | 280 | 54.9 | FC26 | 295 | NA | NORMAL_CT | 0.576 | MEDIUM | ['1.6', '1.4'] | NA | NA
CCR-3-CT27 | 120 | 5 | 200 | 39.03 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT28 | 120 | 5 | 210 | 40.27 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT29 | 120 | 5 | 200 | 35.77 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 0.7 | 0.625 | 20
CCR-3-CT30 | 120 | 5 | 260 | 52.5 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | NA | NA
CCR-3-CT31 | 120 | 5 | 140 | Unknown | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 1.2 | 1.25 | 10
CCR-3-CT32 | 120 | 5 | 252 | 46.86 | STANDARD | 250 | 0.96875 | HELICAL MODE | 0.48828 | HEAD FILTER | 1.2 | 0.625 | 20
CCR-3-CT33 | 120 | 0.9 | 375.15 | 51.8 | UB | 250 | 0.39 | HELIX | 0.48828 | UB | NA | 0.625 | 40
CCR-3-CT34 | 120 | 3 | 139.5 | 18.5 | FC08 | 320.312 | 0.828 | HELICAL_CT | 0.625 | LARGE | ['1.6', '1.4'] | NA | NA
CCR-3-CT35 | 120 | 3 | 124 | 12.9 | FC08 | 317.5 | 0.828 | HELICAL_CT | 0.62 | SMALL | ['1.6', '1.4'] | NA | NA
CCR-3-CT36 | 120 | 3 | 54 | 4.9 | FC09 | 328.125 | 0.638 | HELICAL_CT | 0.64 | LARGE EC | ['0.9', '0.8'] | 0.5 | 40
CCR-3-CT37 | 120 | 5 | 165 | 57.5 | FC26 | 220.312 | 0.625 | HELICAL_CT | 0.43 | SMALL | ['0.9', '0.8'] | 0.5 | 20
CCR-3-CT38 | 120 | 2.5 | 383.25 | 54.33 | STND# | 307 | 0.51562 | HELICAL MODE | 0.59961 | HEAD FILTER | 0.7 | 0.625 | 40
CCR-3-CT39 | 120 | 3 | 248 | 64.86 | ['J40s', '1'] | 298 | 0.55 | no_scan_options | 0.58203 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT41 | 120 | 5 | 133 | 121.83 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | MEDIUM FILTER | 1.2 | 0.625 | 20
CCR-3-CT42 | 130 | 3 | 110 | 46.08 | H30s | 264 | 0.55 | no_scan_options | 0.51562 | 1 | 0.95 | 0.6 | 38.4
CCR-3-CT43 | 130 | 3 | 319.5 | 70.93 | H45s | 297 | NA | no_scan_options | 0.58008 | 1 | 0.95 | 3 | 18
CCR-3-CT44 | 120 | 2.5 | 836.526 | 69.23 | STANDARD | 650 | 0.5625 | HELICAL MODE | 1.2695 | BODY FILTER | 1.2 | 0.625 | 10
CCR-3-CT45 | 120 | 2.5 | 113.7 | 6.72 | STANDARD | 350 | 0.5625 | HELICAL MODE | 0.68359 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT46 | 120 | 3 | 300.12 | 17.8 | C | 600 | 0.813 | HELIX | 1.1719 | C | NA | NA | NA
CCR-3-CT47 | 120 | 3 | 300.12 | 17.8 | C | 600 | 0.813 | HELIX | 1.1719 | C | NA | NA | NA
CCR-3-CT48 | 120 | 2.5 | 361.032 | 21.88 | STANDARD | 500 | 1.375 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 0.625 | 10
CCR-3-CT49 | 120 | 2.5 | 623.355 | 32.91 | STANDARD | 500 | 0.9375 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT50 | 120 | 2.5 | 280 | 55.9 | STANDARD | 307 | NA | AXIAL MODE | 0.59961 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT51 | 120 | 5 | 270 | 47.51 | STANDARD | 320 | NA | AXIAL MODE | 0.625 | HEAD FILTER | 1.2 | 0.625 | 20
CCR-3-CT52 | 120 | 4 | 281 | 63.54 | H37f | 286 | 0.75 | no_scan_options | 0.55859 | FLAT | 1.2 | 0.6 | 6
CCR-3-CT53 | 140 | 3 | 399.575 | 34.9 | B | 600 | 0.688 | HELIX | 1.1719 | B | NA | NA | NA
CCR-3-CT54 | 120 | 3 | 469.79 | 55.9 | B | 530 | 0.688 | HELIX | 1.0352 | B | NA | NA | NA
CCR-3-CT55 | 120 | 2.5 | 688.75 | 44.69 | STANDARD | 500 | 0.75 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 1.25 | 5
CCR-3-CT56 | 120 | 3 | 399.575 | 23.7 | B | 500 | 0.688 | HELIX | 0.97656 | B | NA | NA | NA
CCR-3-CT57 | 120 | 3 | 204.014 | 12.1 | B | 500 | 0.813 | HELIX | 0.97656 | B | NA | 1.5 | 24
CCR-3-CT58 | 120 | 2.5 | 321.2 | 66.14 | STANDARD | 306 | 0.53125 | HELICAL MODE | 0.59766 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT59 | 120 | 2.5 | 321.2 | 64.64 | STANDARD | 289 | 0.53125 | HELICAL MODE | 0.56445 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT60 | 120 | 2.5 | 321.2 | 64.64 | STANDARD | 293 | 0.53125 | HELICAL MODE | 0.57227 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT61 | 140 | 1 | 374.544 | 36.6 | B | 600 | 0.817 | HELIX | 1.1719 | B | NA | NA | NA
CCR-3-CT62 | 120 | 2.5 | 321.2 | 66.14 | STANDARD | 250 | 0.53125 | HELICAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT63 | 120 | 2.5 | 321.2 | 66.14 | STANDARD | 290 | 0.53125 | HELICAL MODE | 0.56641 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT64 | 120 | 2.5 | 321.2 | 66.64 | STANDARD | 290 | 0.53125 | HELICAL MODE | 0.56641 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT65 | 120 | 2.5 | 321.2 | 64.64 | STANDARD | 290 | 0.53125 | HELICAL MODE | 0.56641 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT66 | 120 | 2.5 | 321.2 | 62.47 | STANDARD | 295 | 0.53125 | HELICAL MODE | 0.57617 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT67 | 120 | 2.5 | 321.2 | 64.64 | STANDARD | 300 | 0.53125 | HELICAL MODE | 0.58594 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT68 | 120 | 2.5 | 321.2 | 64.64 | STANDARD | 300 | 0.53125 | HELICAL MODE | 0.58594 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT69 | 120 | 2.5 | 321.2 | 66.14 | STANDARD | 300 | 0.53125 | HELICAL MODE | 0.58594 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT70 | 120 | 2.5 | 321.2 | 64.64 | STANDARD | 300 | 0.53125 | HELICAL MODE | 0.58594 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT71 | 120 | 2.5 | 321.2 | 66.14 | STANDARD | 300 | 0.53125 | HELICAL MODE | 0.58594 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT72 | 120 | 2.5 | 321.2 | 65.59 | STANDARD | 250 | 0.53125 | HELICAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | 0.625 | 20
CCR-3-CT73 | 120 | 2 | 148.5 | 78.15 | H40f | 300 | 0.55 | no_scan_options | 0.58594 | FLAT | 1.2 | 0.6 | 12
CCR-3-CT74 | 120 | 2 | 271.5 | 78.95 | ['Hr44d', '3'] | 300 | 0.55 | no_scan_options | 0.58594 | FLAT | 0.7 | 0.6 | 19.2
CCR-3-CT75 | 120 | 2 | 199 | 68.08 | H40f | 299 | 0.55 | no_scan_options | 0.58398 | FLAT | 1.2 | 0.6 | 12
CCR-3-CT76 | 120 | 4 | 359.856 | 61.8 | UB | 317 | 0.359 | HELIX | 0.61914 | UB | NA | 0.625 | 40
CCR-3-CT77 | 120 | 4 | 449.883 | 62.1 | UB | 307 | 0.296 | HELIX | 0.59961 | UB | NA | 0.625 | 40
CCR-3-CT78 | 120 | 4 | 449.883 | 62.1 | UB | 328 | 0.296 | HELIX | 0.64062 | UB | NA | 0.625 | 40
CCR-3-CT80 | 120 | 4 | 449.975 | 62.1 | UB | 326 | 0.39 | HELIX | 0.63672 | UB | NA | 0.625 | 40
CCR-3-CT81 | 120 | 3 | 36.99 | 11.4 | B | 500 | 0.817 | HELIX | 0.97656 | B | NA | 0.75 | 12
CCR-3-CT82 | 120 | 5 | 200 | 35.81 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 0.7 | 0.625 | 20
CCR-3-CT83 | 120 | 5 | 200 | 35.81 | STANDARD | 250 | NA | AXIAL MODE | 0.48828 | HEAD FILTER | 0.7 | 0.625 | 20
CCR-3-CT85 | 120 | 1.25 | 190.82 | 9.18 | STANDARD | 318 | 0.9375 | HELICAL MODE | 0.62109 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT86 | 120 | 3 | 88 | 10.4 | FC18 | 342.187 | 1.388 | HELICAL_CT | 0.668 | LARGE EC | ['1.6', '1.4'] | 0.5 | 40
CCR-3-CT87 | 120 | 3 | 225 | 18 | FC08 | 312.5 | 1.484 | HELICAL_CT | 0.61 | MEDIUM | ['1.6', '1.4'] | NA | NA
CCR-3-CT88 | 120 | 2.5 | 102.5 | 19.13 | STANDARD | 320 | 0.98438 | HELICAL MODE | 0.625 | MEDIUM FILTER | 1.2 | 0.625 | 40
CCR-3-CT89 | 120 | 2.5 | 408.8 | 65.59 | STND# | 300 | 0.51563 | HELICAL MODE | 0.58594 | MEDIUM FILTER | 0.7 | 0.625 | 40
CCR-3-CT90 | 140 | 2.5 | 255 | 60.74 | STND# | 250 | NA | AXIAL MODE | 0.48828 | MEDIUM FILTER | 0.7 | 0.625 | 120
CCR-3-CT91 | 120 | 2.5 | 401.45 | 22.58 | STANDARD | 500 | 0.9375 | HELICAL MODE | 0.97656 | BODY FILTER | 1.2 | 1.25 | 20
CCR-3-CT92 | 120 | 2 | 300 | 33.73 | B40s | 500 | 0.6 | no_scan_options | 0.97656 | FLAT | 1.2 | 0.6 | 38.4
CCR-3-CT93 | 120 | 2.5 | 199.406 | 25.83 | B | 500 | 0.673 | HELIX | 0.97656 | B | NA | NA | NA
CCR-3-CT94 | 120 | 2.5 | 383.25 | 54.33 | STND# | 243 | 0.51562 | HELICAL MODE | 0.47461 | HEAD FILTER | 0.7 | 0.625 | 40
CCR-3-CT95 | 120 | 2.5 | 296.4 | 58.66 | STANDARD | 220 | 0.53125 | HELICAL MODE | 0.42969 | MEDIUM FILTER | 0.7 | 0.625 | 20